|  | ......................... pcs. .............................. € .............................. € GEZE power supply 2.5A-24V SM DIR Power supply for 230V applications of 24V window drives with integrated direction control/polarity reversal An additional ventilation switch is necessary for activation of 24V window drives. Technical data: Input voltage 230 V AC Power: 60 W Output voltage: 24 V DC +5% (SELV) Output current 2.5A Version: Surface-mounted installation Dimensions (l x w x h) 200 x 50 x 25 mm |
| --- | --- |