|  | ......................... pcs. .............................. € .............................. € GEZE overhead door closer TS 1500 G, with guide rail, size EN1, closing speed and latching action adjustable, standard installation on door leaf/hinge side Colour: ( ) silver-coloured ( ) dark bronze ( ) white ( ) RAL ..... |
| --- | --- |