|  | ......................... pcs. .............................. € .............................. € GEZE floor spring TS 550 NV F, for single-action doors, for installation on fire and smoke protection doors, without hold-open device, load capacity up to 300 kg, with infinitely adjustable closing force size 3 – 6 in accordance with EN 1154; closing speed and latching action are adjustable, closing effect from 180° Buffer: ( ) DIN L ( ) DIN R Cover plate: ( ) stainless steel ( ) dark bronze ( ) brass |
| --- | --- |